TECHNICAL CHARACTERISTICS

Version:		1.0

Date:		12.02.2015

Name:			GOODS-PASSENGER LIFTS GPL®

Short name:		GPL®

Characteristics:	hydraulic goods-passenger lifts adapted for transportation of goods

and persons

Manufacturer:	GMV

Lift type:	GPL®

Load:	1200 – 6000kg

No of persons:	28 - 90

No of stops:	2-8

Travel:	max. 25 m

Cabin:	GMV-GPL-type

dim. WxDxH	according to the drawing GPL 1200-6000

no of entrances:	1 (1 entrance) / 2 (2 entrances)

finishing	panels *		      painted steel Polimod

stainless steel INOX

floor: *			      painted steel grooved

stainless steel INOX

lighting: *		      fluorescent

LED

option:	bumpers on the walls: *  wooden

steel

Doors:	GMV-Victory

dim. SxH	according to the drawing GPL 6000-12500

type: *			      telescopic

central

finishing: *		      painted steel Polimod

stainless steel INOX

glass

option:	bumpers on the walls *   wood

steel

shaft doors fire rated  class *      EI 30

EI 60

EI 90

sils *	aluminum

steel

steel reinforced

Shaft dimensions:

pit:	1000 mm

headroom:	according to the drawing GPL 1200-6000

width and depth:	according to the drawing GPL 1200-6000

Cabin speed: *	0,30 – 0,40 m/s

Drive type:	hydraulic

Power unit:	T3 / T4 / 2T3 / 2T4 / T-Special

Motor power: *	according to the GMV electrical guidelines

Valve block:	3010 DLV / NGV

Controller:	SEA  - microprocessor

Travelling mode:	selective

Option:	door closing suspension

Machinery:	room

Phone line: *	PSTN / GSM (a GMV delivery)

Power supply:	400V / three-phase

Application:	new and existing buildings

*  -  select the right option

Other information in the drawings, brochures and on the www.gmv.pl website:

- GPL Goods-passenger lifts .pdf

or under:

e-mail:		proj@gmv.pl

phone:		+ 48 22 / 842 41 70

GPL® Goods-Passenger Lifts by GMV - the most perfect lift devices 2.000-12.500 kg that have ever been invented

__________________________________________________________________________________________

GMV Polska Sp. z o.o.    02-954 Warszawa,  ul. Marconich 2 lok. 2, Poland

Phone +48 22 / 651 91 45,   842 41 70      Fax +48 22 /  858 99 69      Mobil.   +48 601  27 39 22      E-mail: info@gmv.pl